EXPLOSION-PROOF DUCT HEATERS

Figure 1 - Standard Flanged Heater Installation

Figure 2 - Optional Slip-in Heater Installation

(Not recommended for most applications)

Figure 3 - ULTRA-SAFETM Explosion-proof Duct Heater

Figure 4 - EP2 Explosion-proof Duct Heater

Figure 5 - Custom Explosion-proof Duct Heater

| HOW TO ORDER 1. Construction Type (check one): |  |  |
| --- | --- | --- |
| Standard Flanged |  | Optional Slip-in |
| 2. Electrical Ratings: |  |  |
| Line Voltage |  | Phase |
| KW |  | Control Voltage |
| 3. Inside Duct Dimensions (Inches): |  |  |
| Width |  | Height |
| 4. Airflow Direction (check one): |  |  |
| Right |  | Up |
| Left |  | Down |
| 5. Minimum Airflow Through Heater: |  |  |
| Ft/Sec |  | CFM |
| 6. Maximum Inlet Air Temperature (80 F Standard): |  |  |
| F |  |  |
| 7. Classification of Hazardous Area: |  |  |
| Class | Division 1 Division 2 |  |
| Group |  |  |
| Ignition Temperature F |  |  |
| NEC I.D. Code No. |  |  |
| 8. Temperature Control (check one): |  |  |
| SCR Control |  | ON/OFF Control |
| Specify Input Signal |  |  |
| Standard 2200 ohm |  | Number of Steps |
| (from INDEECO thermostat) |  | (Step Controller required |
| Optional |  | For more then 2 steps) |
| (from customer’s thermostat) |  | ULTRA-SAFE only offered with |
| 135 ohm |  | single stage. |
| 4-20 miliamp |  |  |
| 0-10 VDC |  |  |
| 9. Optional Built-In Controls: |  |  |
| Explosion-proof Airflow Switch (No built-in fan relay) |  |  |
| Built-in |  | Remote |
| Pilot Lights |  |  |
| “Low Airflow” and “Heater On” pilot lights) |  |  |
| Other (specify function): |  |  |
| Disconnect Switch (unfused) |  |  |
| Step Controller (On/Off control with more than 2 stages) |  |  |
| Fan Delay Relay (to keep fan on briefly after heater shuts off) |  |  |
| 10. Optional Features: |  |  |
| Weatherproof NEMA 4,7,9 Terminal Box |  |  |
| Wet or corrosive application |  |  |
| Stainless Steel Frame |  |  |
| All Controls, except overtemperature cutouts, mounted in remote |  |  |
| Control panel of the following type: |  |  |
| Nonhazardous - NEMA 1 |  |  |
| Nonhardous - NEMA 4, weatherproof |  |  |
| Nonhazardous - NEMA 12, dust tight |  |  |
| 11. Remote Thermostat (select type): Room Sensing Duct Sensing |  |  |

SLF – 2582 - 00