# DUCT HEATER REPLACEMENT PARTS ORDER FORM

**Note: All parts quoted net each, minimum billing for replacement parts is $50 per order before tax and/or shipping. Terms: Net**

**30 for account holders; Mastercard/Visa/American Express accepted.**

**Please return this form to your** [**local representative**](https://indeeco.com/contact/rep-locator/) **or email: parts@indeeco.com**

For equipment with a MFG DATE**\*** of **2000** or newer, only the item number ***or*** order number is required, located on nameplate.

**ITEM NUMBER:*****OR* ORDER:**

For equipment with a MFG DATE**\*** prior to 2000, **ALL** nameplate data must be supplied. Please complete section below:

**INDEECO CATALOG NUMBER FOR DUCT HEATERS**

|  |  |  |
| --- | --- | --- |
|  |  |  |
| CODE | TYPE | KW |

|  |  |
| --- | --- |
| X |  |
| DIMENSIONS | MFG. DATE**\*** |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| VOLT | PHASE | NO. OF STEPS | CTRL VLTS |

|  |  |
| --- | --- |
| VA | VOLT |
| CONTROL | CIRCUIT POWER |

|  |
| --- |
|  |

SPECIAL FEATURE CODE

**INDEECO PANEL INFO. FOR CONTROL PANELS**

|  |  |  |  |
| --- | --- | --- | --- |
| CATALOG NUMBER |  | | |
| KW |  | VOLTS |  |
| PHASE |  | AMPS |  |
| MFG DATE**\*** |  |  |  |

**\***MFG DATE is a letter followed by two numbers, i.e. A99 = January 1999. Manufacturing date may be followed by a letter B, C or S depending on manufacturing location.

**Regardless of the manufacture date, all information below must be filled out for your replacement parts order:**

**PARTS REQUIRED**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **QTY** | **DESCRIPTION** | | | | | **PART #** | **NET EACH** |
|  | OPEN COIL REPLACEMENT ELEMENTS (FACTORY TO FILL IN) | | | | |  |  |
| -------- |  |  |  |  |  | ------------- | ---------- |
| -------- | OHMS | GAUGE | ARBOR | IN. CWC | TERMINAL | ------------- | ---------- |
|  | FINNED TUBULAR REPLACEMENT ELEMENT | | | | |  |  |
|  | AUTOMATIC THERMAL CUTOUT | | | | |  |  |
|  | MANUAL THERMAL CUTOUT | | | | |  |  |
|  | CONTROLLING CONTACTOR | | | | |  |  |
|  | SAFETY CONTACTOR | | | | |  |  |
|  | BACKUP CONTACTOR | | | | |  |  |
|  | POWER FUSE | | | | |  |  |
|  | POWER FUSE BLOCK | | | | |  |  |
|  | TRANSFORMER (WITH SECONDARY FUSE & BLOCK, IF REQUIRED) | | | | |  |  |
|  | AIRFLOW SWITCH | | | | |  |  |
|  | DISCONNECT SWITCH (COMPLETE WITH SHAFT & HANDLE) | | | | |  |  |
|  | POWER TERMINAL BLOCK | | | | |  |  |
|  | CONTROL TERMINAL BLOCK | | | | |  |  |
|  | OTHER PARTS: | | | | |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| PARTS ORDER INFORMATION | | HANDLED BY |  | |
| CUSTOMER |  | PO NO. |  |
| ADDRESS |  | DATE. |  |
| CITY/STATE/ZIP |  | PHONE NO. |  |
| NAME OF INDIVIDUAL |  | FAX NO. |  |
| SHIP TO |  | MARK |  |
| ADDRESS |  | TAG |  |
| CITY/STATE/ZIP |  | SHIP VIA |  |